## Maquette
Impédance harmonique - CM
Dipole 1
RPN 80W
Neutre
compensé
BPN
40W+j40W
Quitter
IL :
HTB
HTA
Transfo HTB/HTA
Tension HTA
Puissance transfo
Ucc en %
Amont
Scc(MVA)
Longueur (km)
Rang harmo
Nature
Ne pas modifier
ces champs
Appuyer sur court circuit
Section
Qc (MVAR)
P1 (MW)
X1
R1
Tg F1
R2
X2
QC2(MVAR)
P2 (MW)
Tg F2
Impédance Zh
1 Vh :
2 Vh :
ne pas saisir de Tg F négative (les charges sont selfiques)
L
L (H) :
Ih (A):
Choix de L (Henri) pour le filtre anti harmonique de rang Harmo
L (H) =
Calcul L(H)

## diag (hidden)
Boîte de dialogue

## Zh
Retour

## calcul (hidden)
SCC amont | 400 | [9 empty] | 0
[10 empty] | Fréquence | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
tension HTA | 20000 | 11547.0054 | tension HTA | puis. transfo | Ucc % | nature D1 | Section D1 | nature D2 | Section D2 | Xtr * f | 1.8889 | 3.7778 | 5.6667 | 7.5556 | 9.4444 | 11.3333 | 13.2222 | 15.1111 | 17 | 18.8889 | 20.7778 | 22.6667 | 24.5556 | 26.4444 | 28.3333 | 30.2222 | 32.1111 | 34 | 35.8889 | 37.7778 | 39.6667 | 41.5556 | 43.4444 | 45.3333
puis transfo | 36000000 |  | 20 kV | 10 MVA | 10 | Alm aérien | 38 mm2 | Alm aérien | 38 mm2 | Xa * f | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Ucc% HTA | 17 |  | 15 kV | 20 MVA | 12 (20Mva) | Alu souterrain | 48 mm2 | Alu souterrain | 48 mm2 | Xtr + Xa | -2.8889 | -5.7778 | -8.6667 | -11.5556 | -14.4444 | -17.3333 | -20.2222 | -23.1111 | -26 | -28.8889 | -31.7778 | -34.6667 | -37.5556 | -40.4444 | -43.3333 | -46.2222 | -49.1111 | -52 | -54.8889 | -57.7778 | -60.6667 | -63.5556 | -66.4444 | -69.3333
|  |  |  | 36 MVA | 17(36Mva) | Cu souterrain | 75mm2 | Cu souterrain | 75mm2 | R ch1// | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333
|  |  |  | 40 MVA | 20 (70Mva) |  | 95mm2 |  | 95mm2 | X ch1// *f | -166.6667 | -333.3333 | -500 | -666.6667 | -833.3333 | -1000 | -1166.6667 | -1333.3333 | -1500 | -1666.6667 | -1833.3333 | -2000 | -2166.6667 | -2333.3333 | -2500 | -2666.6667 | -2833.3333 | -3000 | -3166.6667 | -3333.3333 | -3500 | -3666.6667 | -3833.3333 | -4000
|  |  |  | 70 MVA | 24 |  | 116mm2 |  | 116mm2 | X condo PS /f | 133.3333 | 66.6667 | 44.4444 | 33.3333 | 26.6667 | 22.2222 | 19.0476 | 16.6667 | 14.8148 | 13.3333 | 12.1212 | 11.1111 | 10.2564 | 9.5238 | 8.8889 | 8.3333 | 7.8431 | 7.4074 | 7.0175 | 6.6667 | 6.3492 | 6.0606 | 5.7971 | 5.5556
|  |  |  | 100 MVA | 30 |  | 148mm2 |  | 148mm2
[7 empty] | 240mm2 |  | 240mm2 | Rps // | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333
X amont | 1 |  | tension HTA | puis. transfo | Ucc % | nature D1 | Section D1 | nature D2 | Section D2 | Xps // fonct f | -2.9015 | -6.2082 | -10.5391 | -17.23 | -30.3667 | -73.0337 | 456.1404 | 62.5752 | 35.2463 | 25.1353 | 19.8075 | 16.487 | 14.2023 | 12.5241 | 11.233 | 10.2051 | 9.3646 | 8.6628 | 8.0668 | 7.5533 | 7.1058 | 6.7117 | 6.3618 | 6.0486
X transfo | 1.8889 | index | 1 | 3 | 3 | 1 | 6 | 2 | 6 | 1/Rps // | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
|  |  | 20000 | 10000000 | 10 | 0.66892 | 38 | 0 | 38 | 1/Xps // fonct f | -0.34465 | -0.16108 | -0.094885 | -0.058038 | -0.032931 | -0.013692 | 0.0021923 | 0.015981 | 0.028372 | 0.039785 | 0.050486 | 0.060654 | 0.070411 | 0.079846 | 0.089023 | 0.09799 | 0.10679 | 0.11544 | 0.12397 | 0.13239 | 0.14073 | 0.14899 | 0.15719 | 0.16533
X D1 | 1.05 |  | 15000 | 20000000 | 12 | 0.60811 | 48 | 0 | 48 | 1/Zps | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
R D1 | 0.66892 |  |  | 36000000 | 17 | 0.36486 | 75 | 0 | 75 | Zps (fct de f) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | 40000000 | 20 |  | 95 |  | 95 | Rs ps (réel) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
X D2 | 0 |  |  | 70000000 | 25 |  | 116 |  | 116 | Xs ps (imaginaire) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
R D2 | 0 |  |  | 100000000 | 30 |  | 148 |  | 148 | RD1 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892 | 0.66892
[7 empty] | 240 |  | 240 | XD1*f | 1.05 | 2.1 | 3.15 | 4.2 | 5.25 | 6.3 | 7.35 | 8.4 | 9.45 | 10.5 | 11.55 | 12.6 | 13.65 | 14.7 | 15.75 | 16.8 | 17.85 | 18.9 | 19.95 | 21 | 22.05 | 23.1 | 24.15 | 25.2
Pch1 | 12 | charge | [7 empty] | R s | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
tg f1 | 0.2 |  |  |  | long. D1 | 3 | long. D2 | 0 | rang harmo | X s (fct f) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Qch1 | 2.4 |  | aérien | 0,4*L (km) | X aerien | 1.05 | X aerien | 0 | 1 | Z | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  | souterrain | 0,1*L (km) | X sout | 0.3 | X sout | 0 | 2 | 1 / Z | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Qps | 3 |  |  |  | Section | 148 | Section | 148 | 3 | 1 / R// (réel) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  | alm | (33/S)*L(km) | R alm aérien | 0.66892 | R alm aérien | 0 | 4 | 1 / X// (imaginaire) | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
P2 | 10 | client | alu | (30/S)*L(km) | R alu sout | 0.60811 | R alu sout | 0 | 5 | R// | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
tg f2 | 0.2 |  | alu acier | (36/S)*L(km) |  |  |  |  | 6 | X// | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
QL2 | 2 | Calcul filtre | cuivre | (18/S)*L(km) | R Cu | 0.36486 | R Cu | 0 | 7 | R2 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Qc2 (filtre) | 3 | C= Qc / U2 * W | 2.3873e-05 | farad |  |  |  |  | 8 | XL2*f | -200 | -400 | -600 | -800 | -1000 | -1200 | -1400 | -1600 | -1800 | -2000 | -2200 | -2400 | -2600 | -2800 | -3000 | -3200 | -3400 | -3600 | -3800 | -4000 | -4200 | -4400 | -4600 | -4800
L H (filtre) | 1e-40 | L = 1 / C W0*W0 | 0.017 | henri |  |  |  |  | 9 | L*f - XC2/f (filtre) | 133.3333 | 66.6667 | 44.4444 | 33.3333 | 26.6667 | 22.2222 | 19.0476 | 16.6667 | 14.8148 | 13.3333 | 12.1212 | 11.1111 | 10.2564 | 9.5238 | 8.8889 | 8.3333 | 7.8431 | 7.4074 | 7.0175 | 6.6667 | 6.3492 | 6.0606 | 5.7971 | 5.5556
Ih | 10 | verif LCW0W0=1 | 1.0014 | pour f = | 250 |  |  |  | 10 | X2//=XL2//XC2 | 400 | 80 | 48 | 34.7826 | 27.3973 | 22.6415 | 19.3103 | 16.8421 | 14.9378 | 13.4228 | 12.1884 | 11.1628 | 10.297 | 9.5563 | 8.9153 | 8.3551 | 7.8613 | 7.4227 | 7.0305 | 6.6778 | 6.3588 | 6.069 | 5.8044 | 5.562
Rang harmo | 5 | [7 empty] | 11 | RT// | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
valeur VH1 | #NAME? | [7 empty] | 12 | XT// | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
pour rang n | [8 empty] | index | 1/RT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[9 empty] | 5 | 1/XT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[9 empty] | valeur | 1/ZT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
OK verifé avec l'autre maquette resultat identique
[10 empty] | ZT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | module de ZT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Valeur VH2 | #NAME? | [8 empty] | VH1 =ZT * Ih | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
pour rang n | [9 empty] | 1/RT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | 1/XT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | 1/ZT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | ZT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | module ZT | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | VH1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | module VH1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | I (X,R) = VH1/Z série | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | VD1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | VH2=VH1-VD1 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
[10 empty] | module VH2 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
|  |  |  | Rp | 260 | [5 empty] | 1: #NAME?
|  |  |  | Xp | 52
|  |  |  | 1/Rp | 0.0038462
|  |  |  | 1/Xp | 0.019231
|  |  |  | 1/Z | #NAME?
|  |  |  | Z | #NAME?
Note on K11: Calcul impédance coté PS Xc //: positif XL // : négatif
Note on K17: Calcul impédance coté PS Xc série : négatif XL série : positif
Note on K19: Cacul impédance cable HTA
Note on K21: Calcul impédance série Poste source + Cable HTA XL série : Positif
Note on K27: Calcul impédance // Poste source + Cable HTA XL // : négatif
Note on K31: Impédance charge 2 et filtre // XL // : négatif Xc // : positif
Note on K33: Impédance totale // XL // : négatif Xc // : positif
Ih
R2
XL2
XD1
RD1
R1ch
X1 ch
XC
ps
Xtr
Xa
Xps, Rps
X, R
XT, RT
XC2
L